CONDOMINIUM PROPERTY WALKAROUND CHECKLIST

A practical visual review tool for Boards and Condo Managers

| PROPERTY NAME |  | PROPERTY ADDRESS |  |
| --- | --- | --- | --- |
| DATE |  | COMPLETED BY |  |

Use this checklist for a general visual walkaround only. It is not a building inspection, engineering assessment, Reserve Fund Study, or substitute for review by a qualified professional. Do not access roofs, attics, mechanical equipment, electrical equipment or other restricted areas unless appropriately authorized and qualified.

| # | ITEM / WHAT TO LOOK FOR | 1 | 2 | 3 | N/A | FOLLOW-UP |
| --- | --- | --- | --- | --- | --- | --- |
| A. ROOFING & DRAINAGE |  |  |  |  |  |  |
| 1 | Roof covering / shingles - look for visible lifting, missing materials, deterioration or damage from accessible areas |  |  |  |  |  |
| 2 | Flashings - look for visible loose, damaged or displaced flashing around roof edges, vents and penetrations |  |  |  |  |  |
| 3 | Roof edges - look for lifting, deterioration or visible damage |  |  |  |  |  |
| 4 | Visible moisture concerns - note staining, sagging or other visible signs that may indicate water entry |  |  |  |  |  |
| 5 | Fascia - look for loose, damaged, deteriorated or missing sections |  |  |  |  |  |
| 6 | Soffits - look for loose, damaged, stained or missing sections |  |  |  |  |  |
| 7 | Eavestroughs - look for visible leaks, damage, sagging or debris buildup |  |  |  |  |  |
| 8 | Downspouts - confirm they appear secure and discharge away from the building where intended |  |  |  |  |  |
| 9 | Site drainage at building - note ponding, erosion or areas directing water toward the building |  |  |  |  |  |
| B. EXTERIOR WALL CLADDING |  |  |  |  |  |  |
| 1 | Wall transitions / connections - review visible transitions at roofs, foundations, windows and doors for obvious gaps or damage |  |  |  |  |  |
| 2 | Discolouration / streaking - note unusual staining or patterns that may warrant further review |  |  |  |  |  |
| 3 | Cladding condition - look for cracks, holes, dents, loose panels, warping or missing materials |  |  |  |  |  |
| 4 | Visible moisture damage - look for staining, rot, deterioration or other signs of water entry |  |  |  |  |  |
| 5 | Sealants - note visibly cracked, missing or deteriorated sealant at joints and penetrations |  |  |  |  |  |
| C. WINDOWS |  |  |  |  |  |  |
| 1 | Frames / sills - look for cracks, rot, warping, deterioration or damaged finishes |  |  |  |  |  |
| 2 | Sealant - note visible cracking, gaps, separation or missing sealant |  |  |  |  |  |
| 3 | Operation - where safely accessible, note windows that are difficult to open, close or secure |  |  |  |  |  |
| 4 | Glass - look for cracks, chips, fogging or failed sealed units |  |  |  |  |  |
| 5 | Flashing / drainage details - note obvious gaps, damage or staining around window openings |  |  |  |  |  |

Rating: 1 = Needs Attention   |   2 = Monitor / Adequate   |   3 = Good Condition   |   N/A = Not Applicable

CONDOMINIUM PROPERTY WALKAROUND CHECKLIST - CONTINUED

| # | ITEM / WHAT TO LOOK FOR | 1 | 2 | 3 | N/A | FOLLOW-UP |
| --- | --- | --- | --- | --- | --- | --- |
| D. EXTERIOR DOORS |  |  |  |  |  |  |
| 1 | Frames / thresholds - look for cracks, rot, warping, corrosion or deterioration |  |  |  |  |  |
| 2 | Weatherstripping / sealant - note visible gaps, missing material or deterioration |  |  |  |  |  |
| 3 | Operation - where safely accessible, confirm doors open, close and latch reasonably |  |  |  |  |  |
| 4 | Hardware / locks - note loose, damaged, corroded or non-functioning hardware |  |  |  |  |  |
| 5 | Glass - look for cracks, chips, fogging or damage |  |  |  |  |  |
| E. BALCONIES / PATIOS / DECKS |  |  |  |  |  |  |
| 1 | Surface condition - look for visible cracking, wear, deterioration, loose finishes or damage |  |  |  |  |  |
| 2 | Railings / guards - note visible corrosion, damage, looseness or missing components - do not load-test |  |  |  |  |  |
| 3 | Waterproofing / sealants - look for visible cracks, open joints, failed sealant or damaged membranes |  |  |  |  |  |
| 4 | Drainage - note ponding, blocked drains or obvious areas where water is not draining as intended |  |  |  |  |  |
| 5 | Building connections - note visible gaps, deterioration, staining or damage where the structure meets the building |  |  |  |  |  |
| 6 | Fascia / soffit finishes - look for loose, damaged, stained or deteriorated materials |  |  |  |  |  |
| F. FOUNDATION / BASE OF WALL |  |  |  |  |  |  |
| 1 | Visible cracking - note significant, widening or unusual cracks for follow-up |  |  |  |  |  |
| 2 | Movement / displacement - look for visible bulging, leaning, shifting or separation |  |  |  |  |  |
| 3 | Parging / exposed concrete - note spalling, deterioration, loose parging or exposed reinforcement |  |  |  |  |  |
| 4 | Drainage - note areas where grading appears to direct water toward the building |  |  |  |  |  |
| G. PARKADE |  |  |  |  |  |  |
| 1 | Overhead doors - note damage, corrosion or operation concerns from normal use |  |  |  |  |  |
| 2 | Floor / traffic surface - look for significant cracks, potholes, delamination, coating wear or damage |  |  |  |  |  |
| 3 | Visible leaks / staining - note active leakage, efflorescence, staining or deterioration |  |  |  |  |  |
| 4 | Drains - note blocked drains, ponding or obvious drainage concerns |  |  |  |  |  |
| 5 | Lighting - note damaged, missing or non-functioning fixtures |  |  |  |  |  |
| 6 | Signage / markings - note damaged, missing or difficult-to-read signage and traffic markings |  |  |  |  |  |
| 7 | Stairs / handrails / guards - note visible damage, looseness or deterioration - do not load-test |  |  |  |  |  |
| 8 | Ventilation / fire protection - note only obvious visible damage, alarms or concerns; technical systems require qualified review |  |  |  |  |  |

Rating: 1 = Needs Attention   |   2 = Monitor / Adequate   |   3 = Good Condition   |   N/A = Not Applicable

CONDOMINIUM PROPERTY WALKAROUND CHECKLIST - CONTINUED

| # | ITEM / WHAT TO LOOK FOR | 1 | 2 | 3 | N/A | FOLLOW-UP |
| --- | --- | --- | --- | --- | --- | --- |
| H. PARKING LOT / WALKWAYS / CONCRETE |  |  |  |  |  |  |
| 1 | Asphalt / paved surfaces - look for potholes, significant cracking, settlement or deterioration |  |  |  |  |  |
| 2 | Water pooling - note recurring ponding or areas with poor drainage |  |  |  |  |  |
| 3 | Trip hazards - note lifted, uneven or damaged surfaces that may require attention |  |  |  |  |  |
| 4 | Curbs / aprons / steps / landings - look for cracking, spalling, settlement or damage |  |  |  |  |  |
| 5 | Exterior railings / handrails - note visible corrosion, damage or looseness - do not load-test |  |  |  |  |  |
| 6 | Site lighting - note leaning, damaged, missing or non-functioning fixtures |  |  |  |  |  |
| 7 | Catch basins / drainage - note blockages, settlement or drainage concerns |  |  |  |  |  |
| I. LANDSCAPING & SITE CONDITIONS |  |  |  |  |  |  |
| 1 | Retaining walls - look for leaning, cracking, movement, deterioration or drainage concerns |  |  |  |  |  |
| 2 | Erosion - note soil loss, washout or settlement |  |  |  |  |  |
| 3 | Trees / shrubs / vegetation - note overgrowth, dead material or vegetation contacting building components |  |  |  |  |  |
| 4 | Irrigation - note visible leaks, damaged heads or overspray against buildings where applicable |  |  |  |  |  |
| 5 | Drainage - note ponding, saturated areas or grading concerns |  |  |  |  |  |
| J. FENCING & GATES |  |  |  |  |  |  |
| 1 | Posts - look for leaning, broken, loose or deteriorated posts |  |  |  |  |  |
| 2 | Boards / panels - note missing, broken, loose, rotted or corroded materials |  |  |  |  |  |
| 3 | Gates - note sagging, damage or operation concerns |  |  |  |  |  |
| 4 | Hardware - look for corrosion, broken hinges, latches or missing fasteners |  |  |  |  |  |
| 5 | General condition - note rot, corrosion, pest damage or other visible deterioration |  |  |  |  |  |
| K. COMMON AREAS / OTHER SITE ITEMS |  |  |  |  |  |  |
| 1 | Interior common-area finishes - note visible damage, unusual wear, staining or water-related concerns |  |  |  |  |  |
| 2 | Ceilings / walls - look for staining, cracking or visible signs of water entry |  |  |  |  |  |
| 3 | Common-area doors - note operation, hardware or visible damage concerns |  |  |  |  |  |
| 4 | Garbage / recycling areas - note enclosure damage, drainage, lighting or housekeeping concerns |  |  |  |  |  |
| 5 | Sheds / accessory structures - note visible damage, deterioration or security concerns |  |  |  |  |  |
| 6 | Amenities - note visible deterioration or items requiring maintenance |  |  |  |  |  |
| 7 | Signage - note missing, damaged or difficult-to-read signs |  |  |  |  |  |
| 8 | Mechanical / service rooms - from authorized accessible areas only, note obvious leaks, unusual conditions or visible alarms; do not operate equipment |  |  |  |  |  |
| 9 | Fire / life-safety devices - note only obvious visible damage or missing devices; testing and technical assessment require qualified personnel |  |  |  |  |  |

Rating: 1 = Needs Attention   |   2 = Monitor / Adequate   |   3 = Good Condition   |   N/A = Not Applicable

NOTES & FOLLOW-UP ACTION LOG

Record observations, photographs, follow-up items and professional reviews that may be required.

| REF. | OBSERVATION / LOCATION | ACTION / FOLLOW-UP | RESPONSIBLE | TARGET DATE |
| --- | --- | --- | --- | --- |

Suggested follow-up categories: Routine maintenance | Contractor quotation | Condo manager follow-up | Engineering / technical review | Monitor at next walkaround

Important: Where a condition may present an immediate safety concern, restrict access as appropriate and obtain timely advice from the appropriate qualified professional. This checklist is intended to help identify items for follow-up, not to determine the technical cause, severity or required repair.